## Sheet1
1 | INTRODUCTION
This report summarizes the analytical results from the quantitation of PFOS, PFOSA,
PFOSAA, PFHS, POAA, M556 and M570 in human serum samples for 3M
Environmental Technology and Services in support of Protocol EPI-PEuro [5.1]. The
validated LC/MS/MS method provided a lower limit of quantitation (LLOQ) of 31.4
(PFOS), 1.00 (PFOSA), 1.45 (PFOSAA), 2.61 (PFHS) and 5.27 (POAA) ppb. All
analytes exhibited a linear response to approximately 500 ppb with the exception of
PFOSAA, which had an upper limit of quantitation (ULOQ) of 270 ppb [5.2]. The non-
validated method for the quantitation for M556 and M570 in human serum provided a
lower limit of quantitation (LLOQ) of 1.00 and 5.00 ppb, respectively, and exhibited a
linear response to 500 ppb for both analytes.
The testing facility was 3M Corporate Occupational Medicine (Bldg. 220-3W-05, St.
Paul, MN 55144-10(10), and Jean Burris at the facility served as the Principal Investigator.
The following is a list of NWB supervisory personnel involved in the completion of this
work: David Vollmer, Ph.D. (NWB Project Manager); Rodger L. Foltz, Ph.D. (NWB
Laboratory Director).
NWB SOPs were used in the conduct of this study and were available to study personnel
in electronic and/or hard copy formats.
Date Study Initiated: September 7, 1999 Date Analyses Completed: September 20, 19
The clinical study described in this report is not included within the defnition of a GLP
regulated nonclinical study. However, Northwest Bioanalytical conducts all studies
within the guidelines of the U.S. FDA Good Laboratory Practice Regulations for
Page 6
Northwest Bioanalytical | Study No. NWBS99-117
Report No. NWBR99-114
Nonclinical Laboratory Studies (Title 21 CFR Part 58), the OECD Principles of Good
Laboratory Practice and the Japanese MEW Good Laboratory Practice Standard
Ordinance for Nonclinical Laboratory Studies on the Safety of Drugs (Ordinance No. 21,
PAB Notification No. 424). Any changes to or deviations from the original protocol
(Analytical Plan) were documented through approved protocol amendments or deviation
memos and are retained within the raw data.
2 | METHODOLOGY
The validated assay used for this study is Meth98082.00 and was reported in Northwest
Bioanalytical report NWBR99-005 [5.2].
Samples for this study were received at NWB on the following date:
Receipt Date | Number of Samples Received | Storage Condition
(except during analysis)
August 27, 1999 | 18 | —20°C
Reference Material
Analyte | Lot Number Purity Expiration Date Source Storage Conditions
*PFOS (FC-95) | 193 | 100% | 12/31/2010 | 3M | Room Temperature
(dry)
PFOSA | 214 | 100% | 12/31/2010 | 3M | Room Temperature
*PFOS1\A | 617 | 53.8% | 12/31/2010 | 3M | Room Temperature
(FC-129)
PFHS | S398-182 | 100% | 12/31/2010 | 3M | — 20°C
*POAA | 245 | 100% | 12/31/2010 | 3M | Room Temperature
(FC 143) |  |  |  |  | (dry)
M556 | NB | 99.89% | 12/31/2010 | 3M | Room Temperature
113047-80
M570 | 118506-26 | 99.75% | 12/31/2010 | 3M | Room Temperature
SDS (sodium | 17H0459 | 99% | 1/16/2001 | Sigm9. | Room Temperature
dodecylsulfate)
* Analyte names used throughout this report do not include their FC identifer; for example, PFOS is
synonymous with PFOS (FC-95)